## Slide 1
Dr. Özçel Cangül
Lecture Notes by: Dr. Ali Muhtaroğlu
Fall 2023
METU Northern Cyprus Campus
References:
Electric Circuits 10th Ed. by Nilsson & Riedel
Electrical Circuit Analysis 3rd Ed. by Johnson, Johnson, Hilburn, and Scott
Engineering Circuit Analysis 7th Ed. by Hayt, Kemmerly, and Durbin
Fundamentals of Electric Circuits 3rd Ed. by Alexander, and Sadiku
Electrical Circuits EEE-281 Lecture Notes

## Slide 2: First Order Circuits Weeks 13-14 Reading: Nilsson & Riedel Chapter 7
Ali Muhtaroğlu

## Slide 3: Introduction
When we add resistive circuits to a single storage element, the resulting circuit is called a first-order circuit, because the circuit is characterized by a first-order differential equation.
Will next study:
  Circuits without independent sources : Natural response due to initial energy stored
  Circuits with DC sources : Two additive responses apply –natural response, and forced response due to the independent sources
  Circuits with non-DC sources: Responses to step and pulse sources.

## Slide 4: Natural Response of a Simple RC Circuit (without sources)
Assumption: The capacitor is already charged (by whatever
means) to voltage V0 at the initial time, or t=0.
KCL at the top node:
Need to determine v(t) for t>0:
which results in the first-order differential equation:
Solving:

## Slide 5: Natural Response of a Simple RC Circuit (without sources)
Conservation of Energy:
The energy at initial time (t=0) stored in the capacitor:
: Natural response of the circuit
At any time t :
As t , the stored energy in the capacitor decays to 0. Through
conservation of energy, the lost energy has to go somewhere in the system:
This is also the transient response.
The response of the circuit after “a long time”
is called the steady-state response, as covered
earlier.

## Slide 6
Example
v(0) = 5 V
Find i) i(t)
ii) max power dissipated by the resistor

## Slide 7
Example
v(0) = 5 V
Find i) i(t)
ii) max power dissipated by the resistor
Using KVL, this is also the voltage across the resistor
Therefore, the maximum power dissipated is 25mW at the time
when capacitor starts discharging (t=0).
Answer:

## Slide 8: Natural Response of a Simple RL Circuit (without sources)
Assumption: The inductor is already “magnetized” (by whatever means) to current at the initial time, or t=0.
Need to determine i(t) for t>0:
KVL :
Take the exponential of both sides:
But, using the principle of discontinuity:

## Slide 9: Natural Response of a Simple RL Circuit (without sources)
There is an alternate way to solve this using characteristic equations.
1) Assume a trial solution:
2) Substitute into the original first-order differential equation:
But cannot be zero because .
Therefore, it must be that if this equation is to hold.
is the characteristic equation for the differential equation.
Solving, .
Therefore,
Using the initial condition as in the previous page:

## Slide 10
Example
Find i) L
ii) Initial current i(0)

## Slide 11
Example
Find i) L
ii) Initial current i(0)
Therefore, L=5 H, and i(0)=1/100=10mA
Answer:

## Slide 12: Time Constants
The time constant, τ, characterizes the rate of decay for the natural response. It is defined as the time required for a natural response to decay by a factor of 1/e (0.37). All currents and voltages (responses) of the first order circuits decay with the same time constant, τ.
By definition:
By definition:

## Slide 13: Time Constants
The time constant, τ, characterizes the rate of decay for the natural response. It is defined as the time required for a natural response to decay by a factor of 1/e (0.37). All currents and voltages (responses) of the first order circuits decay with the same time constant, τ.
By definition:
By definition:

## Slide 14
Example
Calculate time constant, τ for this circuit.
Use it to find voltage v for t>0.

## Slide 15
Steady-state model before t=0:
Due to continuity principle:
Simple RC model for t>0:
Example
Calculate time constant, τ for this circuit.
Use it to find voltage v for t>0.
Answer:

## Slide 16
Example:Simple RL Circuit

## Slide 17
ii) Using (1):
Example:Simple RL Circuit
Answer:

## Slide 18
General First Order Circuits
without Sources
We can apply the previous techniques to circuits that can be
reduced to simple RL or RC.
Example: Find the time constant of the below circuit:

## Slide 19
We can apply the previous techniques to circuits that can be
reduced to simple RL or RC.
Example: Find the time constant of the below circuit:
General First Order Circuits
without Sources

## Slide 20
Example
Find the time constant of the following circuit:
2 Ω

## Slide 21
Example
Find the time constant of the following circuit:
Answer:
First find the equivalent resistance connected to the terminals of the inductor. Since the resistors are neither in parallel nor in series, cannot directly calculate Req. Instead, can find the ratio between a test voltage and test current.
2 Ω

## Slide 22
Example
Answer:
Find the time constant of the following circuit:
KVL (Mesh 1):
KVL (Mesh 2):
Add (1) and (2):
Substitute for i2 into (1):
KVL (Around Left Loop):
i
2 Ω

## Slide 23
Example
Answer:
Find the time constant of the following circuit:
KVL (Mesh 1):
KVL (Mesh 2):
Add (1) and (2):
Substitute for i2 into (1):
KVL (Around Left Loop):
i
2 Ω

## Slide 24
Circuits with DC Sources
Circuits driven by constant (dc) independent current or voltage sources in
addition to having initial stored energies.
For t > 0, KCL at top node:

## Slide 25
Circuits with DC Sources
Circuits driven by constant (dc) independent current or voltage sources in
addition to having initial stored energies.
For t > 0, KCL at top node:
Forcing term independent of
the unknown time functions

## Slide 26
Forcing term independent of
the unknown time functions
Need a trial v where a linear combination of v and its derivative is constant for
all t>0. Try trial forced solution :
Circuits with DC Sources
Circuits driven by constant (dc) independent current or voltage sources in
addition to having initial stored energies.
For t > 0, KCL at top node:

## Slide 27
Forcing term independent of
the unknown time functions
Need a trial v where a linear combination of v and its derivative is constant for
all t>0. Try trial forced solution :
A valid differential equation must also satisfy:
Let denote any solution to the unforced differential equation:
But we know from before:
Circuits with DC Sources
Circuits driven by constant (dc) independent current or voltage sources in
addition to having initial stored energies.
For t > 0, KCL at top node:

## Slide 28
Evaluating at t=0, the initial condition is matched if:
Substitute back into v(t) eqn (1):
Note at t=0, as needed.
Since both forced differential eqn and initial condition needs to be satisfied:
Circuits with DC Sources
Circuits driven by constant (dc) independent current or voltage sources in
addition to having initial stored energies.
For t > 0, KCL at top node:

## Slide 29
Summary of the method to solve the forced first order differential equation with constant forcing term and initial conditions:
Find the forced solution by using a trial forced solution = A
2. Find the natural solution by using a trial natural solution = and
solving the characteristic equation for s.
The total solution is the sum (superposition) of natural and forced
solutions. Evaluate at the initial time to find K.
Circuits with DC Sources

## Slide 30
Find iL, the current through the inductor, and ic, the current through the capacitor, as shown, after all the sources have been turned on for a long time.
Superposition Example 2

## Slide 31
Find iL, the current through the inductor, and ic, the current through the capacitor, as shown, after all the sources have been turned on for a long time.
Superposition Example 2
Solution:
Since the analysis is done after all the sources have been turned on for a long time, there is no energy initially stored in inductors and capacitors. The component of iL and ic coming from each source has to be calculated independently under steady-state conditions based on the basic principle of superposition (no need to include the response to initial conditions to the superposition).

## Slide 32
Find iL, the current through the inductor, and ic, the current through the capacitor, as shown, after all the sources have been turned on for a long time.
Superposition Example 2
Solution:
Since the analysis is done after all the sources have been turned on for a long time, there is no energy initially stored in inductors and capacitors. The component of iL and ic coming from each source has to be calculated independently under steady-state conditions based on the basic principle of superposition (no need to include the response to initial conditions to the superposition).
1. Turn on 100 V source only:

## Slide 33
Find iL, the current through the inductor, and ic, the current through the capacitor, as shown, after all the sources have been turned on for a long time.
Superposition Example 2
Solution:
Since the analysis is done after all the sources have been turned on for a long time, there is no energy initially stored in inductors and capacitors. The component of iL and ic coming from each source has to be calculated independently under steady-state conditions based on the basic principle of superposition (no need to include the response to initial conditions to the superposition).
1. Turn on 100 V source only:
2. Turn on 50 V source only:

## Slide 34
Find iL, the current through the inductor, and ic, the current through the capacitor, as shown, after all the sources have been turned on for a long time.
Superposition Example 2
Solution:
Since the analysis is done after all the sources have been turned on for a long time, there is no energy initially stored in inductors and capacitors. The component of iL and ic coming from each source has to be calculated independently under steady-state conditions based on the basic principle of superposition (no need to include the response to initial conditions to the superposition).
1. Turn on 100 V source only:
2. Turn on 50 V source only:
3. Turn on 10 A source only:

## Slide 35
Find iL, the current through the inductor, and ic, the current through the capacitor, as shown, after all the sources have been turned on for a long time.
Superposition Example 2 (continued)
Solution:
Since the analysis is done after all the sources have been turned on for a long time, there is no energy initially stored in inductors and capacitors. The component of iL and ic coming from each source has to be calculated independently under steady-state conditions based on the basic principle of superposition (no need to include the response to initial conditions to the superposition).
4. Turn on the sinusoidal voltage source only:
since there is no energy originally stored in the inductor, and all of the current from the sinusoidal source goes through the short-circuit across the resistors and the inductor.

## Slide 36
Find iL, the current through the inductor, and ic, the current through the capacitor, as shown, after all the sources have been turned on for a long time.
Solution:
Since the analysis is done after all the sources have been turned on for a long time, there is no energy initially stored in inductors and capacitors. The component of iL and ic coming from each source has to be calculated independently under steady-state conditions based on the basic principle of superposition (no need to include the response to initial conditions to the superposition).
4. Turn on the sinusoidal voltage source only:
since there is no energy originally stored in the inductor, and all of the current from the sinusoidal source goes through the short-circuit across the resistors and the inductor.
5. Summing up components:
Superposition Example 2 (continued)

## Slide 37
Unit Step Function

## Slide 38
Voltage step source:
Current step source:
Unit Step Function

## Slide 39
The shifted unit step:
Unit Step Function
Voltage step source:
Current step source:

## Slide 40
Unit Step Function

## Slide 41
+
=
Unit Step Function

## Slide 42
Unit Step Function

## Slide 43
Unit Step Function

## Slide 44
This is a pulse function.
Unit Step Function